## PLC Tags
Name | Path | Data Type | Logical Address | Comment | Hmi Visible | Hmi Accessible | Hmi Writeable | Typeobject ID | Version ID
i.MCC1201.A401AP1.SelectedCPU_A | MCC1201 | Bool | %E20.0 |  | False | False | False
i.MCC1201.A401AP1.SelectedCPU_B | MCC1201 | Bool | %E20.1 |  | False | False | False
i.MCC1201.A401AP1.RecognitionCPU_A | MCC1201 | Bool | %E20.2 |  | False | False | False
i.MCC1201.A401AP1.RecognitionCPU_B | MCC1201 | Bool | %E20.3 |  | False | False | False
i.MCC1201.A406AP1.MCC1201.A109QF2.Power_failure24V_internal_IN | MCC1201 | Bool | %E80.0 |  | False | False | False
i.MCC1201.A406AP1.MCC1201.A109QF3.Power_failure24V_external_IN | MCC1201 | Bool | %E80.1 |  | False | False | False
i.MCC1201.A406AP1.MCC1201.A115KM1.UPS24V_outputON | MCC1201 | Bool | %E80.2 |  | False | False | False
i.MCC1201.A406AP1.MCC1201.A135KM1. 24V_outputON | MCC1201 | Bool | %E80.3 |  | False | False | False
i.MCC1201.A406AP1.MCC1201.A117KE1. UPS_EmergencyON | MCC1201 | Bool | %E80.4 |  | False | False | False
i.MCC1201.A406AP1.MCC1201.A122KE1. MainEmergencyON | MCC1201 | Bool | %E80.5 |  | False | False | False
i.MCC1201.A406AP1.A118SB1.EmergencyLocalization_MCC1201 | MCC1201 | Bool | %E80.6 |  | False | False | False
i.MCC1201.A406AP1.A136QM1.DriveSupply | MCC1201 | Bool | %E81.0 |  | False | False | False
i.MCC1201.A406AP1.A137QM1.DriveSupply | MCC1201 | Bool | %E81.1 |  | False | False | False
i.MCC1201.A406AP1.A172QM1.M203_EmergencyCrosscutPowerSupply | MCC1201 | Bool | %E81.2 |  | False | False | False
i.MCC1201.A406AP1.A110QF2.PowerSupply24VDrive | MCC1201 | Bool | %E81.3 |  | False | False | False
i.MCC1201.A406AP1.A110QF3.PowerSupply24VDrive | MCC1201 | Bool | %E81.4 |  | False | False | False
i.MCC1201.A406AP1.A174QM1.M204ProtectionTiltingMachine | MCC1201 | Bool | %E81.5 |  | False | False | False
i.MCC1201.A406AP1.A141QM1.M216ProtectionFanRotation | MCC1201 | Bool | %E81.6 |  | False | False | False
i.MCC1201.A406AP1.A141KM1.M216FeedbackFanRotation | MCC1201 | Bool | %E81.7 |  | False | False | False
i.MCC1201.A406AP1.A174KM1_2.M204FeedbackUpDownTiltingConveyor | MCC1201 | Bool | %E82.0 |  | False | False | False
i.MCC1201.A406AP1.A174KA1.M204TiltingFrameHigh | MCC1201 | Bool | %E82.1 |  | False | False | False
i.MCC1201.A406AP1.A174KA2.M204TiltingFrameDown | MCC1201 | Bool | %E82.2 |  | False | False | False
i.MCC1201.A406AP1.A174KA3.M204TiltingSafetyBarDisinserted | MCC1201 | Bool | %E82.3 |  | False | False | False
i.MCC1201.A406AP1.A176QM1.M206ProtectionBreakerRotation | MCC1201 | Bool | %E83.0 |  | False | False | False
i.MCC1201.A406AP1.A176KM1.M206FeedbackBreakerRotation | MCC1201 | Bool | %E83.1 |  | False | False | False
i.MCC1201.A406AP1.A178QM1.M209ProtectionFanRotation | MCC1201 | Bool | %E83.5 |  | False | False | False
i.MCC1201.A406AP1.A178KM1.M209FeedbackFanRotation | MCC1201 | Bool | %E83.6 |  | False | False | False
o.MCC1201.A406AP1.A141KM1.M216FanRotation | MCC1201 | Bool | %A86.0 |  | False | False | False
o.MCC1201.A406AP1.A457KA1.M204RiseTilting | MCC1201 | Bool | %A87.1 |  | False | False | False
o.MCC1201.A406AP1.A457KA2.M204DescenceTilting | MCC1201 | Bool | %A87.2 |  | False | False | False
o.MCC1201.A406AP1.A457KA3.M206BreakerRotation | MCC1201 | Bool | %A87.4 |  | False | False | False
o.MCC1201.A406AP1.A457KA4.M209ChipBlowerFanRotation | MCC1201 | Bool | %A87.6 |  | False | False | False
i.MCC1201.A406AP1.M202B1.GlassBreakPhotocell | MCC1201 | Bool | %E32.0 |  | False | False | False
i.MCC1201.A406AP1.M202B2.GlassBreakPhotocell | MCC1201 | Bool | %E32.1 |  | False | False | False
i.MCC1201.A406AP1.M202B3.GlassBreakPhotocell | MCC1201 | Bool | %E32.2 |  | False | False | False
i.MCC1201.A406AP1.M202B4.GlassBreakPhotocell | MCC1201 | Bool | %E32.3 |  | False | False | False
i.MCC1201.A406AP1.M202B5.GlassBreakPhotocell | MCC1201 | Bool | %E32.4 |  | False | False | False
i.MCC1201.A406AP1.M202B6.GlassBreakPhotocell | MCC1201 | Bool | %E32.5 |  | False | False | False
i.MCC1201.A406AP1.M202B7.GlassBreakPhotocell | MCC1201 | Bool | %E32.6 |  | False | False | False
i.MCC1201.A406AP1.M202B8.GlassBreakPhotocell | MCC1201 | Bool | %E32.7 |  | False | False | False
i.MCC1201.A406AP1.M202B9.GlassBreakPhotocell | MCC1201 | Bool | %E33.0 |  | False | False | False
i.MCC1201.A406AP1.M202B10.GlassBreakPhotocell | MCC1201 | Bool | %E33.1 |  | False | False | False
i.MCC1201.A406AP1.M203.EmergencyCrosscutMachineReady | MCC1201 | Bool | %E33.4 |  | False | False | False
i.MCC1201.A406AP1.M203.EmergencyCrosscutstarCycle | MCC1201 | Bool | %E33.5 |  | False | False | False
i.MCC1201.A406AP1.M203SB1.EmergencyLocalization | MCC1201 | Bool | %E33.7 |  | False | False | False
i.MCC1201.A406AP1.M204S.A204SSQ1.TiltingAreaDoorsOpen | MCC1201 | Bool | %E34.0 |  | False | False | False
i.MCC1201.A406AP1.M204S.A204SSB5.AllarmOff | MCC1201 | Bool | %E34.1 |  | False | False | False
i.MCC1201.A406AP1.M204S.A204SSB7.TiltingFrameUp/Down | MCC1201 | Bool | %E34.2 |  | False | False | False
i.MCC1201.A406AP1.M204S.A204SSB1.UPS_EmergencyLocalization | MCC1201 | Bool | %E34.3 |  | False | False | False
i.MCC1201.A406AP1.M204S.A204SSB3.EmergencyLocalization | MCC1201 | Bool | %E34.4 |  | False | False | False
i.MCC1201.A406AP1.M204S.A204SSQ2.TiltingAreaDoorsOpen | MCC1201 | Bool | %E34.7 |  | False | False | False
i.MCC1201.A406AP1.M204S.A204SSB6.TiltingFrameUp/Down | MCC1201 | Bool | %E35.0 |  | False | False | False
i.MCC1201.A406AP1.M204S.A204SSB2.UPS_EmergencyLocalization | MCC1201 | Bool | %E35.1 |  | False | False | False
i.MCC1201.A406AP1.M204S.A204SSB4.EmergencyLocalization | MCC1201 | Bool | %E35.2 |  | False | False | False
i.MCC1201.A406AP1.M206.M206SQ1.BreakerControllRotation | MCC1201 | Bool | %E36.0 |  | False | False | False
i.MCC1201.A406AP1.M209.M209SB1.ChipBlowerON | MCC1201 | Bool | %E36.2 |  | False | False | False
i.MCC1201.A406AP1.M211.M211SB1.EmergencyLocalization | MCC1201 | Bool | %E36.4 |  | False | False | False
i.MCC1201.A406AP1.M211.M211SB2.EmergencyLocalization | MCC1201 | Bool | %E36.5 |  | False | False | False
i.MCC1201.A406AP1.M214.M214SB1.EmergencyLocalization | MCC1201 | Bool | %E37.0 |  | False | False | False
i.MCC1201.A406AP1.M214.M214SB2.EmergencyLocalization | MCC1201 | Bool | %E37.1 |  | False | False | False
i.MCC1201.A406AP1.M218.M218SB1.EmergencyLocalization | MCC1201 | Bool | %E37.4 |  | False | False | False
i.MCC1201.A406AP1.M218.M218SB2.EmergencyLocalization | MCC1201 | Bool | %E37.5 |  | False | False | False
i.MCC1201.A406AP1.CS4201.A118SB1.UPS_EmergencyLocalization | MCC1201 | Bool | %E38.0 |  | False | False | False
i.MCC1201.A406AP1.CS4201.A118SB2.EmergencyLocalization | MCC1201 | Bool | %E38.1 |  | False | False | False
i.MCC1201.A406AP1.CS4202.A118SB3.EmergencyLocalization | MCC1201 | Bool | %E38.4 |  | False | False | False
i.MCC1201.A406AP1.M201.A547BT1.MotorThermalProbe | MCC1201 | Bool | %E38.6 |  | False | False | False
i.MCC1201.A406AP1.M204.A547BT2.MotorThermalProbe | MCC1201 | Bool | %E38.7 |  | False | False | False
i.MCC1201.A406AP1.BreakerReady | MCC1201 | Bool | %E39.0 |  | False | False | False
i.MCC1201.A406AP1.M205.A548BT1.MotorThermalProbe | MCC1201 | Bool | %E39.3 |  | False | False | False
i.MCC1201.A406AP1.M208.A548BT2.MotorThermalProbe | MCC1201 | Bool | %E39.4 |  | False | False | False
i.MCC1201.A406AP1.M211.A548BT3.MotorThermalProbe | MCC1201 | Bool | %E39.5 |  | False | False | False
i.MCC1201.A406AP1.M214.A548BT4.MotorThermalProbe | MCC1201 | Bool | %E39.6 |  | False | False | False
i.MCC1201.A406AP1.M218.A548BT5.MotorThermalProbe | MCC1201 | Bool | %E39.7 |  | False | False | False
oMCC1201.A406AP1.A571KA1.GlassSheetToBreaker | MCC1201 | Bool | %A44.0 |  | False | False | False
oMCC1201.A406AP1.A571KA2.Spare | MCC1201 | Bool | %A44.1 |  | False | False | False
oMCC1201.A406AP1.A571KA3.GlassPresenceIsra | MCC1201 | Bool | %A44.2 |  | False | False | False
o.MCC1201.A406AP1.A571HA1.Alarm | MCC1201 | Bool | %A44.3 |  | False | False | False
o.MCC1201.A406AP1.A571KA4.Anomaly | MCC1201 | Bool | %A44.4 |  | False | False | False
o.MCC1201.A406AP1.A572KA1.RiseSnapRoll | MCC1201 | Bool | %A45.0 |  | False | False | False
o.MCC1201.A406AP1.A572KA2.M203StartCycle | MCC1201 | Bool | %A45.3 |  | False | False | False
o.MCC1201.A406AP1.A572KA3.M203Spare | MCC1201 | Bool | %A45.4 |  | False | False | False
o.MCC1201.A406AP1.M202.M202HL1.RibbonBreaking | MCC1201 | Bool | %A46.0 |  | False | False | False
o.MCC1201.A406AP1.M204S.M204SHL5.DoorsOpenTiltingMachine | MCC1201 | Bool | %A46.3 |  | False | False | False
o.MCC1201.A406AP1.M204S.M204SSB7.Up/DownTiltingConveyor | MCC1201 | Bool | %A46.2 |  | False | False | False
o.MCC1201.A406AP1.M204S.M204SSB6.Up/DownTiltingConveyor | MCC1201 | Bool | %A46.5 |  | False | False | False
o.MCC1201.A406AP1.M204S.M204SHL6.DoorsOpenTiltingMachine | MCC1201 | Bool | %A46.6 |  | False | False | False
o.MCC1201.A406AP1.M209.M209SB1.ChipBlowerON | MCC1201 | Bool | %A47.0 |  | False | False | False
o.MCC1201.A406AP1.MCC1201.A572HL1SafetyOnPannel3 | MCC1201 | Bool | %A47.7 |  | False | False | False
o.MCC1201.A406AP1.M206.M206HL1.CulletLineReady | MCC1201 | Bool | %A47.2 |  | False | False | False
o.MCC1201.A406AP1.M206.M206HL2.CulletLineNotReady | MCC1201 | Bool | %A47.3 |  | False | False | False
i.MCC1301.E405AP1.E109QF2.Power supply 24VDC input control cabinet | MCC1301 | Bool | %E160.0 |  | False | False | False
i.MCC1301.E405AP1.E109QF3.Power supply 24VDC input machine | MCC1301 | Bool | %E160.1 |  | False | False | False
i.MCC1301.E405AP1.E115KM1.Power supply 24VDC output ON | MCC1301 | Bool | %E160.2 |  | False | False | False
i.MCC1301.E405AP1..E120QF2.PowerSupply24VDrive | MCC1301 | Bool | %E160.3 |  | False | False | False
i.MCC1301.E405AP1..E120QF3.PowerSupply24VDrive | MCC1301 | Bool | %E160.4 |  | False | False | False
i.MCC1301.E405AP1.E122KE1.MainEmergencyON | MCC1301 | Bool | %E160.5 |  | False | False | False
i.MCC1301.E405AP1.E121SB1.EmergencyLocalization | MCC1301 | Bool | %E160.6 |  | False | False | False
i.MCC1301.E405AP1.E143QM1.M301A.ProtectionLiftingFrame | MCC1301 | Bool | %E160.7 |  | False | False | False
i.MCC1301.E405AP1.E150QM1M309.ProtectionFanRotation | MCC1301 | Bool | %E161.1 |  | False | False | False
i.MCC1301.E405AP1.E150KM1M309.FeedbackFanRotation | MCC1301 | Bool | %E161.2 |  | False | False | False
i.MCC1301.E405AP1.E135QM1.DriveSupply | MCC1301 | Bool | %E161.4 |  | False | False | False
i.MCC1301.E405AP1.E136QM1.DriveSupply | MCC1301 | Bool | %E161.5 |  | False | False | False
i.MCC1301.E405AP1.E178QM1.M312.ProtectionLiftingFrame | MCC1301 | Bool | %E161.3 |  | False | False | False
i.MCC1301.E405AP1.E178KM1_2.M312.FeedbackUpDownTiltingConveyor | MCC1301 | Bool | %E173.0 |  | False | False | False
i.MCC1301.E405AP1.A178KA1.M312TiltingFrameHigh | MCC1301 | Bool | %E173.1 |  | False | False | False
i.MCC1301.E405AP1.E178KA2.M312TiltingFrameDown | MCC1301 | Bool | %E173.2 |  | False | False | False
i.MCC1301.E405AP1.E178KA3.M312TiltingSafetyBarDisinserted | MCC1301 | Bool | %E173.3 |  | False | False | False
i.MCC1301.E405AP1.E182QM1.M312.ProtectionArmsMovement | MCC1301 | Bool | %E173.4 |  | False | False | False
i.MCC1301.E405AP1.E181QM1.M315.ProtectionBreakerRotation | MCC1301 | Bool | %E173.5 |  | False | False | False
i.MCC1301.E405AP1.E181KM1.M315.FeedbackBreakerRotation | MCC1301 | Bool | %E173.6 |  | False | False | False
o.MCC1301.E405AP1.E456KA1.M312M4RiseDropSection | MCC1301 | Bool | %A176.0 |  | False | False | False
o.MCC1301.E405AP1.E456KA2.M312M4LowerDropSection | MCC1301 | Bool | %A176.1 |  | False | False | False
o.MCC1301.E405AP1.E456KA6.M309ChipBlowerFanRotation | MCC1301 | Bool | %A176.2 |  | False | False | False
o.MCC1301.E405AP1.E456KA4.M301AM5LiftFrame | MCC1301 | Bool | %A176.3 |  | False | False | False
o.MCC1301.E405AP1.E456KA5.M301AM5ALowerFrame | MCC1301 | Bool | %A176.4 |  | False | False | False
o.MCC1301.E405AP1.E456KA3.M315RunBreaker | MCC1301 | Bool | %A176.5 |  | False | False | False
i.MCC1301.E405AP1.E201QM1.M312.ProtectionMovementArm#1 | MCC1301 | Bool | %E180.0 |  | False | False | False
i.MCC1301.E405AP1.E202QM1.M312.ProtectionMovementArm#2 | MCC1301 | Bool | %E180.4 |  | False | False | False
i.MCC1301.E405AP1.E203QM1.M312.ProtectionMovementArm#3 | MCC1301 | Bool | %E181.0 |  | False | False | False
i.MCC1301.E405AP1.E205QM1.M312.ProtectionMovementArm#5 | MCC1301 | Bool | %E182.0 |  | False | False | False
i.MCC1301.E405AP1.E206QM1.M312.ProtectionMovementArm#6 | MCC1301 | Bool | %E182.4 |  | False | False | False
i.MCC1301.E405AP1.E207QM1.M312.ProtectionMovementArm#7 | MCC1301 | Bool | %E183.0 |  | False | False | False
i.MCC1301.E405AP1.E208QM1.M312.ProtectionMovementArm#8 | MCC1301 | Bool | %E183.4 |  | False | False | False
i.MCC1301.E405AP1.E209QM1.M312.ProtectionMovementArm#9 | MCC1301 | Bool | %E184.0 |  | False | False | False
i.MCC1301.E405AP1.E210QM1.M312.ProtectionMovementArm#10 | MCC1301 | Bool | %E184.4 |  | False | False | False
i.MCC1301.E405AP1.E211QM1.M312.ProtectionMovementArm#11 | MCC1301 | Bool | %E185.0 |  | False | False | False
i.MCC1301.E405AP1.E212QM1.M312.ProtectionMovementArm#12 | MCC1301 | Bool | %E185.4 |  | False | False | False
i.MCC1301.E405AP1.E213QM1.M312.ProtectionMovementArm#13 | MCC1301 | Bool | %E186.0 |  | False | False | False
i.MCC1301.E405AP1.E214QM1.M312.ProtectionMovementArm#14 | MCC1301 | Bool | %E186.4 |  | False | False | False
i.MCC1301.E405AP1.E215QM1.M312.ProtectionMovementArm#15 | MCC1301 | Bool | %E187.0 |  | False | False | False
i.MCC1301.E405AP1.E216QM1.M312.ProtectionMovementArm#16 | MCC1301 | Bool | %E187.4 |  | False | False | False
i.MCC1301.E405AP1.E217QM1.M312.ProtectionMovementArm#17 | MCC1301 | Bool | %E188.0 |  | False | False | False
i.MCC1301.E405AP1.E201KA1.M312.StopRiseArm#1 | MCC1301 | Bool | %E180.1 |  | False | False | False
i.MCC1301.E405AP1.E201KA2.M312.StopDescenceArm#1 | MCC1301 | Bool | %E180.2 |  | False | False | False
i.MCC1301.E405AP1.E202KA1.M312.StopRiseArm#2 | MCC1301 | Bool | %E180.5 |  | False | False | False
i.MCC1301.E405AP1.E201KM1.M312.FeedbackMovementArm#1 | MCC1301 | Bool | %E180.3 |  | False | False | False
i.MCC1301.E405AP1.E202KA2.M312.StopDescenceArm#2 | MCC1301 | Bool | %E180.6 |  | False | False | False
i.MCC1301.E405AP1.E202KM1.M312.FeedbackMovementArm#2 | MCC1301 | Bool | %E180.7 |  | False | False | False
i.MCC1301.E405AP1.E203KA1.M312.StopRiseArm#3 | MCC1301 | Bool | %E181.1 |  | False | False | False
i.MCC1301.E405AP1.E203KA2.M312.StopDescenceArm#3 | MCC1301 | Bool | %E181.2 |  | False | False | False
i.MCC1301.E405AP1.E203KM1.M312.FeedbackMovementArm#3 | MCC1301 | Bool | %E181.3 |  | False | False | False
i.MCC1301.E405AP1.E204KA1.M312.StopRiseArm#4 | MCC1301 | Bool | %E181.5 |  | False | False | False
i.MCC1301.E405AP1.E204KA2.M312.StopDescenceArm#4 | MCC1301 | Bool | %E181.6 |  | False | False | False
i.MCC1301.E405AP1.E204KM1.M312.FeedbackMovementArm#4 | MCC1301 | Bool | %E181.7 |  | False | False | False
i.MCC1301.E405AP1.E205KA1.M312.StopRiseArm#5 | MCC1301 | Bool | %E182.1 |  | False | False | False
i.MCC1301.E405AP1.E205KA2.M312.StopDescenceArm#5 | MCC1301 | Bool | %E182.2 |  | False | False | False
i.MCC1301.E405AP1.E205KM1.M312.FeedbackMovementArm#5 | MCC1301 | Bool | %E182.3 |  | False | False | False
i.MCC1301.E405AP1.E206KA1.M312.StopRiseArm#6 | MCC1301 | Bool | %E182.5 |  | False | False | False
i.MCC1301.E405AP1.E206KA2.M312.StopDescenceArm#6 | MCC1301 | Bool | %E182.6 |  | False | False | False
i.MCC1301.E405AP1.E206KM1.M312.FeedbackMovementArm#6 | MCC1301 | Bool | %E182.7 |  | False | False | False
i.MCC1301.E405AP1.E204QM1.M312.ProtectionMovementArm#4 | MCC1301 | Bool | %E181.4 |  | False | False | False
i.MCC1301.E405AP1.E207KA1.M312.StopRiseArm#7 | MCC1301 | Bool | %E183.1 |  | False | False | False
i.MCC1301.E405AP1.E207KA2.M312.StopDescenceArm#7 | MCC1301 | Bool | %E183.2 |  | False | False | False
i.MCC1301.E405AP1.E207KM1.M312.FeedbackMovementArm#7 | MCC1301 | Bool | %E183.3 |  | False | False | False
i.MCC1301.E405AP1.E208KA1.M312.StopRiseArm#8 | MCC1301 | Bool | %E183.5 |  | False | False | False
i.MCC1301.E405AP1.E208KA2.M312.StopDescenceArm#8 | MCC1301 | Bool | %E183.6 |  | False | False | False
i.MCC1301.E405AP1.E208KM1.M312.FeedbackMovementArm#8 | MCC1301 | Bool | %E183.7 |  | False | False | False
i.MCC1301.E405AP1.E209KA1.M312.StopRiseArm#9 | MCC1301 | Bool | %E184.1 |  | False | False | False
i.MCC1301.E405AP1.E209KA2.M312.StopDescenceArm#9 | MCC1301 | Bool | %E184.2 |  | False | False | False
i.MCC1301.E405AP1.E209KM1.M312.FeedbackMovementArm#9 | MCC1301 | Bool | %E184.3 |  | False | False | False
i.MCC1301.E405AP1.E210KA1.M312.StopRiseArm#10 | MCC1301 | Bool | %E184.5 |  | False | False | False
i.MCC1301.E405AP1.E210KA2.M312.StopDescenceArm#10 | MCC1301 | Bool | %E184.6 |  | False | False | False
i.MCC1301.E405AP1.E210KM1.M312.FeedbackMovementArm#10 | MCC1301 | Bool | %E184.7 |  | False | False | False
i.MCC1301.E405AP1.E211KA1.M312.StopRiseArm#11 | MCC1301 | Bool | %E185.1 |  | False | False | False
i.MCC1301.E405AP1.E211KA2.M312.StopDescenceArm#11 | MCC1301 | Bool | %E185.2 |  | False | False | False
i.MCC1301.E405AP1.E211KM1.M312.FeedbackMovementArm#11 | MCC1301 | Bool | %E185.3 |  | False | False | False
i.MCC1301.E405AP1.E212KA1.M312.StopRiseArm#12 | MCC1301 | Bool | %E185.5 |  | False | False | False
i.MCC1301.E405AP1.E212KA2.M312.StopDescenceArm#12 | MCC1301 | Bool | %E185.6 |  | False | False | False
i.MCC1301.E405AP1.E212KM1.M312.FeedbackMovementArm#12 | MCC1301 | Bool | %E185.7 |  | False | False | False
i.MCC1301.E405AP1.E213KA1.M312.StopRiseArm#13 | MCC1301 | Bool | %E186.1 |  | False | False | False
i.MCC1301.E405AP1.E213KA2.M312.StopDescenceArm#13 | MCC1301 | Bool | %E186.2 |  | False | False | False
i.MCC1301.E405AP1.E213KM1.M312.FeedbackMovementArm#13 | MCC1301 | Bool | %E186.3 |  | False | False | False
i.MCC1301.E405AP1.E214KA1.M312.StopRiseArm#14 | MCC1301 | Bool | %E186.5 |  | False | False | False
i.MCC1301.E405AP1.E214KA2.M312.StopDescenceArm#14 | MCC1301 | Bool | %E186.6 |  | False | False | False
i.MCC1301.E405AP1.E214KM1.M312.FeedbackMovementArm#14 | MCC1301 | Bool | %E186.7 |  | False | False | False
i.MCC1301.E405AP1.E216KA1.M312.StopRiseArm#16 | MCC1301 | Bool | %E187.5 |  | False | False | False
i.MCC1301.E405AP1.E216KA2.M312.StopDescenceArm#16 | MCC1301 | Bool | %E187.6 |  | False | False | False
i.MCC1301.E405AP1.E216KM1.M312.FeedbackMovementArm#16 | MCC1301 | Bool | %E187.7 |  | False | False | False
i.MCC1301.E405AP1.E215KA1.M312.StopRiseArm#15 | MCC1301 | Bool | %E187.1 |  | False | False | False
i.MCC1301.E405AP1.E215KA2.M312.StopDescenceArm#15 | MCC1301 | Bool | %E187.2 |  | False | False | False
i.MCC1301.E405AP1.E215KM1.M312.FeedbackMovementArm#15 | MCC1301 | Bool | %E187.3 |  | False | False | False
i.MCC1301.E405AP1.E217KA1.M312.StopRiseArm#17 | MCC1301 | Bool | %E188.1 |  | False | False | False
i.MCC1301.E405AP1.E217KA2.M312.StopDescenceArm#17 | MCC1301 | Bool | %E188.2 |  | False | False | False
i.MCC1301.E405AP1.E217KM1.M312.FeedbackMovementArm#17 | MCC1301 | Bool | %E188.3 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#1 | MCC1301 | Bool | %A189.0 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#1 | MCC1301 | Bool | %A189.1 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#2 | MCC1301 | Bool | %A189.2 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#2 | MCC1301 | Bool | %A189.3 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#3 | MCC1301 | Bool | %A189.4 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#3 | MCC1301 | Bool | %A189.5 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#4 | MCC1301 | Bool | %A189.6 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#4 | MCC1301 | Bool | %A189.7 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#5 | MCC1301 | Bool | %A190.0 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#5 | MCC1301 | Bool | %A190.1 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#6 | MCC1301 | Bool | %A190.2 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#6 | MCC1301 | Bool | %A190.3 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#7 | MCC1301 | Bool | %A190.4 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#7 | MCC1301 | Bool | %A190.5 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#8 | MCC1301 | Bool | %A190.6 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#8 | MCC1301 | Bool | %A190.7 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#9 | MCC1301 | Bool | %A191.1 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#10 | MCC1301 | Bool | %A191.2 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#10 | MCC1301 | Bool | %A191.3 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#11 | MCC1301 | Bool | %A191.4 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#11 | MCC1301 | Bool | %A191.5 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#12 | MCC1301 | Bool | %A191.6 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#12 | MCC1301 | Bool | %A191.7 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#13 | MCC1301 | Bool | %A192.0 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#13 | MCC1301 | Bool | %A192.1 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#14 | MCC1301 | Bool | %A192.2 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#14 | MCC1301 | Bool | %A192.3 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#15 | MCC1301 | Bool | %A192.4 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#15 | MCC1301 | Bool | %A192.5 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#16 | MCC1301 | Bool | %A192.6 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#16 | MCC1301 | Bool | %A192.7 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#17 | MCC1301 | Bool | %A193.0 |  | False | False | False
o.MCC1301.E405AP1.M312UpDownArm#9 | MCC1301 | Bool | %A191.0 |  | False | False | False
o.MCC1301.E405AP1.M312LimitSwitchBypassArm#17 | MCC1301 | Bool | %A193.1 |  | False | False | False
o.MCC1301.E406AP1.MCC1205.GLassCut.NotUsed | MCC1301 | Bool | %E96.0 |  | False | False | False
o.MCC1301.E406AP1.MCC1205.StartTX.data.NotUsed | MCC1301 | Bool | %E96.1 |  | False | False | False
o.MCC1301.E406AP1.MCC1205.SupervisorOk.NotUsed | MCC1301 | Bool | %E96.2 |  | False | False | False
o.MCC1301.E406AP1.MCC1205.Spare.NotUsed | MCC1301 | Bool | %E96.3 |  | False | False | False
i.MCC1301.E406AP1.M221B1.BreakoutControl | MCC1301 | Bool | %E96.5 |  | False | False | False
i.MCC1301.E406AP1.M221B2.BreakoutControl | MCC1301 | Bool | %E96.6 |  | False | False | False
i.MCC1301.E406AP1.M301B1.GlassSincronization | MCC1301 | Bool | %E97.0 |  | False | False | False
i.MCC1301.E406AP1.M302SQ1.LeftChassisStopTraslationToLeft | MCC1301 | Bool | %E97.2 |  | False | False | False
i.MCC1301.E406AP1.M302SQ1.LeftChassisStopTraslationToRigh | MCC1301 | Bool | %E97.3 |  | False | False | False
i.MCC1301.E406AP1.M302SQ3.AntiCollisonFrames | MCC1301 | Bool | %E97.4 |  | False | False | False
i.MCC1301.E406AP1.M302SB1.EmergencyLocalization | MCC1301 | Bool | %E97.5 |  | False | False | False
i.MCC1301.E406AP1.M302SB3.AutoWanderControl | MCC1301 | Bool | %E97.6 |  | False | False | False
i.MCC1301.E406AP1.M302SB5.GlassStop | MCC1301 | Bool | %E97.7 |  | False | False | False
i.MCC1301.E406AP1.M302SB7.SendGlassToCullet | MCC1301 | Bool | %E98.0 |  | False | False | False
i.MCC1301.E406AP1.M302SB9.SendGlassToSecondChoise | MCC1301 | Bool | %E98.1 |  | False | False | False
i.MCC1301.E406AP1.M302SA1.LeftFrameToRigh | MCC1301 | Bool | %E98.2 |  | False | False | False
i.MCC1301.E406AP1.M302SA1.LeftFrameToLeft | MCC1301 | Bool | %E98.3 |  | False | False | False
i.MCC1301.E406AP1.M302SA3.ConveyorToRigh | MCC1301 | Bool | %E98.4 |  | False | False | False
i.MCC1301.E406AP1.M302SA3.ConveyorToLeft | MCC1301 | Bool | %E98.5 |  | False | False | False
i.MCC1301.E406AP1.M302ASB1.FastRiseBreaking1 | MCC1301 | Bool | %E98.6 |  | False | False | False
i.MCC1301.E406AP1.M302ASB11.FastRiseBreaking2 | MCC1301 | Bool | %E98.7 |  | False | False | False
i.MCC1301.E406AP1.M302SQ2.RightChassisStopTraslationToRight | MCC1301 | Bool | %E99.2 |  | False | False | False
i.MCC1301.E406AP1..M302SQ2.RightStopTraslationToLeft | MCC1301 | Bool | %E99.3 |  | False | False | False
i.MCC1301.E406AP1.M302B1.GlassSheetOnBreakout#1 | MCC1301 | Bool | %E99.4 |  | False | False | False
i.MCC1301.E406AP1.M302B2.GlassSheetOnBreakout#2 | MCC1301 | Bool | %E99.5 |  | False | False | False
i.MCC1301.E406AP1.M302SB2.EmergencyLocalization | MCC1301 | Bool | %E99.6 |  | False | False | False
i.MCC1301.E406AP1.M302SB6.GlassStop | MCC1301 | Bool | %E100.0 |  | False | False | False
i.MCC1301.E406AP1.M302SB4.AutoWanderControl | MCC1301 | Bool | %E99.7 |  | False | False | False
i.MCC1301.E406AP1.M302SB8.SendGlassToCullet | MCC1301 | Bool | %E100.1 |  | False | False | False
i.MCC1301.E406AP1.M302SB10.SendGlassToSecondChoise | MCC1301 | Bool | %E100.2 |  | False | False | False
i.MCC1301.E406AP1.M302SA2.RightFrameToRigh | MCC1301 | Bool | %E100.3 |  | False | False | False
i.MCC1301.E406AP1.M302SA2.RightFrameToLeft | MCC1301 | Bool | %E100.4 |  | False | False | False
i.MCC1301.E406AP1.M302SA4.ConveyorToRigh | MCC1301 | Bool | %E100.5 |  | False | False | False
i.MCC1301.E406AP1.M302SA5.ConveyorToLeft | MCC1301 | Bool | %E100.6 |  | False | False | False
i.MCC1301.E406AP1.M302ASB2.FastRiseBreaking1 | MCC1301 | Bool | %E100.7 |  | False | False | False
i.MCC1301.E406AP1.M302ASB12.FastRiseBreaking2 | MCC1301 | Bool | %E101.0 |  | False | False | False
i.MCC1301.E406AP1.M302AB3.GlassSincronization | MCC1301 | Bool | %E101.1 |  | False | False | False
i.MCC1301.E406AP1.M304SQ1.UpstreamLeftBreakoutDown | MCC1301 | Bool | %E101.5 |  | False | False | False
i.MCC1301.E406AP1.M304SQ3.UpstreamLeftBreakouOverstroke | MCC1301 | Bool | %E101.6 |  | False | False | False
i.MCC1301.E406AP1.M304SQ5.UpstreamBreakouAnticollision | MCC1301 | Bool | %E101.7 |  | False | False | False
i.MCC1301.E406AP1.M304SQ2.UpstreamRightBreakoutDown | MCC1301 | Bool | %E102.0 |  | False | False | False
i.MCC1301.E406AP1.M304SQ4.UpstreamRightBreakouOverstroke | MCC1301 | Bool | %E102.1 |  | False | False | False
i.MCC1301.E406AP1.M306SB1.EmergencyLocalization | MCC1301 | Bool | %E102.5 |  | False | False | False
i.MCC1301.E406AP1.M307SQ1.DownstreamBreakoutDown | MCC1301 | Bool | %E103.1 |  | False | False | False
i.MCC1301.E406AP1.M307SQ3.DownstreamBreakoutLeftOverstroke | MCC1301 | Bool | %E103.2 |  | False | False | False
i.MCC1301.E406AP1.M307SQ4.DownstreamBreakoutRightOverstroke | MCC1301 | Bool | %E103.5 |  | False | False | False
i.MCC1301.E406AP1.M309SB1.ChipBlowerON | MCC1301 | Bool | %E104.0 |  | False | False | False
i.MCC1301.E406AP1.M311B1-2-3-4-5.GlassSincronization | MCC1301 | Bool | %E104.3 |  | False | False | False
i.MCC1301.E406AP1.M312SSQ1-2.TiltingAreaDoorsOpen | MCC1301 | Bool | %E104.6 |  | False | False | False
i.MCC1301.E406AP1.M312SSB1.EmergencyLocalization | MCC1301 | Bool | %E104.7 |  | False | False | False
i.MCC1301.E406AP1.M312SSB2.EmergencyLocalization | MCC1301 | Bool | %E105.0 |  | False | False | False
i.MCC1301.E406AP1.A312SSB3.TiltingFrameUp/Down | MCC1301 | Bool | %E105.1 |  | False | False | False
i.MCC1301.E406AP1.A312SSB4.TiltingFrameUp/Down | MCC1301 | Bool | %E105.2 |  | False | False | False
i.MCC1301.E406AP1.M315SQ1.BreakerControllRotation | MCC1301 | Bool | %E106.0 |  | False | False | False
i.MCC1301.E406AP1.MCC1310.CameraSystemBusy | MCC1301 | Bool | %E106.7 |  | False | False | False
i.MCC1301.E406AP1.MCC1310.DataREadyForPLC | MCC1301 | Bool | %E107.0 |  | False | False | False
i.MCC1301.E406AP1.MCC1310.CameraSystemON | MCC1301 | Bool | %E107.1 |  | False | False | False
i.MCC1301.E406AP1.MCC1310.Spare | MCC1301 | Bool | %E107.2 |  | False | False | False
i.MCC1301.E406AP1.BreakerReady | MCC1301 | Bool | %E107.4 |  | False | False | False
i.MCC1301.E406AP1.BreakerSpare | MCC1301 | Bool | %E107.5 |  | False | False | False
i.CS4202.E406AP1.E547SB1.ResetAnomalyZ200 | MCC1301 | Bool | %E108.0 |  | False | False | False
i.CS4202.E406AP1.E547SB2.ResetAnomalyZ301 | MCC1301 | Bool | %E108.1 |  | False | False | False
i.CS4202.E406AP1.E547SB3.StartCleaningZ301 | MCC1301 | Bool | %E108.2 |  | False | False | False
i.CS4202.E406AP1.E547SB5.GlassRequestToQLT | MCC1301 | Bool | %E108.4 |  | False | False | False
i.CS4202.E406AP1.E547SB2.ResetAnomalyZ302 | MCC1301 | Bool | %E108.5 |  | False | False | False
i.CS4202.E406AP1.E547SB4.StopCleaningZ301 | MCC1301 | Bool | %E108.3 |  | False | False | False
i.CS4301.E406AP1.M547SB8.SendGlassToCullet | MCC1301 | Bool | %E109.1 |  | False | False | False
i.CS4301.E406AP1.M547SB9.SendGlassToSecondChoise | MCC1301 | Bool | %E109.2 |  | False | False | False
i.CS4301.E406AP1.E121SB2.EmergencyLocalization | MCC1301 | Bool | %E109.3 |  | False | False | False
o.MCC1301.E572KA1.Mcc1310PresencePLC | MCC1301 | Bool | %A117.0 |  | False | False | False
o.MCC1301.E572KA2.Mcc1310MainStartMeasureCycle | MCC1301 | Bool | %A117.1 |  | False | False | False
o.MCC1301.E572KA3.Mcc1310CPU_A_Active | MCC1301 | Bool | %A117.2 |  | False | False | False
o.MCC1301.E572KA3.Mcc1310CPU_B_Active | MCC1301 | Bool | %A117.3 |  | False | False | False
o.MCC1301.E572KA4.Mcc1310Spare | MCC1301 | Bool | %A117.4 |  | False | False | False
o.MCC1301.E572KA5.Mcc1310Spare | MCC1301 | Bool | %A117.5 |  | False | False | False
o.MCC1301.E572KA6.Mcc1310Spare | MCC1301 | Bool | %A117.6 |  | False | False | False
o.MCC1301.E572KA7.Mcc1310Spare | MCC1301 | Bool | %A117.7 |  | False | False | False
o.MCC1301.E572KA8.Mcc1310Spare | MCC1301 | Bool | %A118.0 |  | False | False | False
o.MCC1301.E573KA1.GlassToBreaker | MCC1301 | Bool | %A118.1 |  | False | False | False
o.MCC1301.E573KA2.GlassToBreaker | MCC1301 | Bool | %A118.2 |  | False | False | False
o.MCC1301.E572HA1.Alarm | MCC1301 | Bool | %A118.7 |  | False | False | False
o.MCC1301.M302AYV1.LeftDescentBreaking1 | Tabella delle variabili standard | Bool | %A119.2 |  | False | False | False
o.MCC1301.M302AYV3.LeftBlowBreaking1 | MCC1301 | Bool | %A119.3 |  | False | False | False
o.MCC1301.M302AYV2.LeftDescentBreaking2 | MCC1301 | Bool | %A119.4 |  | False | False | False
o.MCC1301.M302AYV4.LeftBlowBreaking2 | MCC1301 | Bool | %A119.5 |  | False | False | False
o.MCC1301.M302AYV5.RightDescentBreaking1 | MCC1301 | Bool | %A120.0 |  | False | False | False
o.MCC1301.M302AYV7.RightBlowBreaking1 | MCC1301 | Bool | %A120.1 |  | False | False | False
o.MCC1301.M302AYV6.RightDescentBreaking2 | MCC1301 | Bool | %A120.2 |  | False | False | False
o.MCC1301.M302AYV8.RightBlowBreaking2 | MCC1301 | Bool | %A120.3 |  | False | False | False
o.MCC1301.M304AYV1.LeftBreakoutRise | MCC1301 | Bool | %A120.6 |  | False | False | False
o.MCC1301.M304AYV2.RightBreakoutRise | MCC1301 | Bool | %A120.7 |  | False | False | False
o.MCC1301.M307AYV1.Spare | MCC1301 | Bool | %A121.1 |  | False | False | False
o.MCC1301.E406AP1.M302SB4.AutoWanderControl | MCC1301 | Bool | %A123.4 |  | False | False | False
o.MCC1301.E406AP1.M302SB6.GlassStop | MCC1301 | Bool | %A123.5 |  | False | False | False
o.MCC1301.E406AP1.M302SB8.SendGlassToCullet | MCC1301 | Bool | %A123.6 |  | False | False | False
o.MCC1301.E406AP1.M302SB10.SendGlassToSecondChoise | MCC1301 | Bool | %A123.7 |  | False | False | False
o.MCC1301.E406AP1.M302SB3.AutoWanderControl | MCC1301 | Bool | %A123.0 |  | False | False | False
o.MCC1301.E406AP1.M302SB5.GlassStop | MCC1301 | Bool | %A123.1 |  | False | False | False
o.MCC1301.E406AP1.M302SB7.SendGlassToCullet | MCC1301 | Bool | %A123.2 |  | False | False | False
o.MCC1301.E406AP1.M302SB9.SendGlassToSecondChoise | MCC1301 | Bool | %A123.3 |  | False | False | False
o.MCC1301.E406AP1.M309SB1.ChipBlowerON | MCC1301 | Bool | %A124.2 |  | False | False | False
o.MCC1301.E406AP1.M312SSB3HL.DoorsOpenTiltingMachine | MCC1301 | Bool | %A124.7 |  | False | False | False
o.MCC1301.E406AP1.M312SSB3HL.Up/DownTiltingConveyor | MCC1301 | Bool | %A124.5 |  | False | False | False
o.MCC1301.E406AP1.M312SSB4HL.Up/DownTiltingConveyor | MCC1301 | Bool | %A124.6 |  | False | False | False
o.MCC1301.E406AP1.M315HL1.CulletLineReady | Tabella delle variabili standard | Bool | %A125.3 |  | False | False | False
o.MCC1301.E406AP1.M315HL2.CulletLineNotReady | MCC1301 | Bool | %A125.4 |  | False | False | False
o.MCC1301.E406AP1.MCC1301.E580HL1.SafetyOnPannel2 | MCC1301 | Bool | %A125.5 |  | False | False | False
o.MCC1301.E406AP1.MCC1301.E580HL2.SafetyOnPannel3 | MCC1301 | Bool | %A125.6 |  | False | False | False
o.MCC1301.E406AP1.MCC1301.E580HL3.SafetyOnPannel4 | MCC1301 | Bool | %A125.7 |  | False | False | False
o.CS4202.E406AP1.E547SB1.ResetAnomalyZ200 | MCC1301 | Bool | %A126.0 |  | False | False | False
o.CS4202.E406AP1.E547SB2.ResetAnomalyZ301 | MCC1301 | Bool | %A126.1 |  | False | False | False
o.CS4202.E406AP1.E547SB3.StartCleaningZ301 | MCC1301 | Bool | %A126.2 |  | False | False | False
o.CS4202.E406AP1.E547SB4.StopCleaningZ301 | MCC1301 | Bool | %A126.3 |  | False | False | False
o.CS4202.E406AP1.E547SB5.GlassRequestToQLT | MCC1301 | Bool | %A126.4 |  | False | False | False
o.CS4202.E406AP1.E547SB2.ResetAnomalyZ302 | MCC1301 | Bool | %A126.5 |  | False | False | False
o.CS4301.E406AP1.M547SB8.SendGlassToCullet | MCC1301 | Bool | %A127.0 |  | False | False | False
o.CS4301.E406AP1.M547SB9.SendGlassToSecondChoise | MCC1301 | Bool | %A127.1 |  | False | False | False
i.MCC1302.F405AP1.F109QF2.Power supply 24VDC input control cabinet | MCC1302 | Bool | %E264.0 |  | False | False | False
i.MCC1302.F405AP1.F120QF2.PowerSupply24VDrive | MCC1302 | Bool | %E264.3 |  | False | False | False
i.MCC1302.F405AP1F115KM1.Power supply 24VDC output ON | MCC1302 | Bool | %E264.2 |  | False | False | False
i.MCC1302.F405AP1.F109QF3.Power supply 24VDC input machine | MCC1302 | Bool | %E264.1 |  | False | False | False
i.MCC1302.F405AP1.F122KE1.MainEmenrgencyON | MCC1302 | Bool | %E264.5 |  | False | False | False
i.MCC1302.F405AP1.F121SB1.EmergencyLocalization | MCC1302 | Bool | %E264.6 |  | False | False | False
i.MCC1302.F405AP1.F135QM1.DriveSupply | MCC1302 | Bool | %E264.7 |  | False | False | False
i.MCC1302.F405AP1.F142QM1.M316.ProtectionPowderApplicator | MCC1302 | Bool | %E267.2 |  | False | False | False
i.MCC1302.F405AP1.F144QM1.M317.ProtectionLiftingTilting | MCC1302 | Bool | %E267.5 |  | False | False | False
i.MCC1302.F405AP1.F144KM1_2.M317.FeedbackTiltingLiftingtilting | MCC1302 | Bool | %E267.6 |  | False | False | False
i.MCC1302.F405AP1.F144KA1.M317.TiltingFrameHigh | MCC1302 | Bool | %E267.7 |  | False | False | False
i.MCC1302.F405AP1.F144KA2.M312.TiltingFrameDown | Tabella delle variabili standard | Bool | %E268.0 |  | False | False | False
i.MCC1302.F405AP1.F144KA3.M312.TiltingSafetyBarDisinserted | MCC1302 | Bool | %E268.1 |  | False | False | False
i.MCC1302.F405AP1.F146QM1.M319ProtectionAirCushionFan1 | MCC1302 | Bool | %E268.5 |  | False | False | False
i.MCC1302.F405AP1.F146KM1.M319FeedbackAirCushionFan1 | MCC1302 | Bool | %E268.6 |  | False | False | False
i.MCC1302.F405AP1.F146QM2.M319ProtectionAirCushionFan2 | MCC1302 | Bool | %E268.7 |  | False | False | False
i.MCC1302.F405AP1.F146KM2.M319FeedbackAirCushionFan2 | MCC1302 | Bool | %E269.0 |  | False | False | False
i.MCC1302.F405AP1.F149KA2.M321.TiltingFrameDown | MCC1302 | Bool | %E269.1 |  | False | False | False
i.MCC1302.F405AP1.F149KA3.M321.TiltingSafety | MCC1302 | Bool | %E269.2 |  | False | False | False
i.MCC1302.F405AP1.F149QM1.M321.ProtectionLiftingTilting | MCC1302 | Bool | %E269.5 |  | False | False | False
i.MCC1302.F405AP1.F149KM1_2.M321.FeedbackTiltingLiftingTilting | MCC1302 | Bool | %E269.6 |  | False | False | False
i.MCC1302.F405AP1.F149KA1.TiltingFrameHigh | MCC1302 | Bool | %E269.7 |  | False | False | False
o.MCC1302.F405AP1.F441KA1.M313.BlowerFanRotation | MCC1302 | Bool | %A272.3 |  | False | False | False
o.MCC1302.F405AP1.F441KA1.M317.LiftFrame | MCC1302 | Bool | %A272.0 |  | False | False | False
o.MCC1302.F405AP1.F441KA2.M317.LowerFrame | MCC1302 | Bool | %A272.1 |  | False | False | False
o.MCC1302.F405AP1.F441KA4.M321RiseDropSection | MCC1302 | Bool | %A272.5 |  | False | False | False
o.MCC1302.F405AP1.F441KA2.M321LowerDropSection | MCC1302 | Bool | %A272.6 |  | False | False | False
i.MCC1302.F405AP1.F175QM1.M325.ProtectionLiftingTilting | MCC1302 | Bool | %E276.1 |  | False | False | False
i.MCC1302.F405AP1.F175KM1_2.M325.FeedbackTiltingLiftingTilting | MCC1302 | Bool | %E276.2 |  | False | False | False
i.MCC1302.F405AP1.F175KA2.M325.TiltingFrameDown | MCC1302 | Bool | %E276.4 |  | False | False | False
i.MCC1302.F405AP1.F175KA1.M325TiltingFrameHigh | MCC1302 | Bool | %E276.3 |  | False | False | False
i.MCC1302.F405AP1.F175KA3.M325.TiltingSafety | MCC1302 | Bool | %E276.5 |  | False | False | False
i.MCC1302.F405AP1.F177QM1.M327.ProtectionBreakerRotation | MCC1302 | Bool | %E277.1 |  | False | False | False
i.MCC1302.F405AP1.F177KM1.M327.FeedbackBreakerRotation | MCC1302 | Bool | %E277.2 |  | False | False | False
o.MCC1302.F405AP1.F456KA3.M325.LiftDropSection | MCC1302 | Bool | %A277.3 |  | False | False | False
o.MCC1302.F405AP1.F456KA4.M325.LowerDropSection | MCC1302 | Bool | %A277.4 |  | False | False | False
o.MCC1302.F405AP1.F456KA5.M327.RunBreaker | MCC1302 | Bool | %A277.6 |  | False | False | False
i.MCC1302.F405AP1.M313B1-2-3-4-5.GlassSincronization | MCC1302 | Bool | %E200.0 |  | False | False | False
i.MCC1302.F405AP1.M317SSB2.EmergencyLocalization | MCC1302 | Bool | %E200.5 |  | False | False | False
i.MCC1302.F405AP1.M317SSB1.EmergencyLocalization | MCC1302 | Bool | %E200.4 |  | False | False | False
i.MCC1302.F405AP1.M317SSQ1-2.TiltingAreaDoorsOpen | MCC1302 | Bool | %E200.3 |  | False | False | False
i.MCC1302.F405AP1.M319SB1.EmergencyLocalization | MCC1302 | Bool | %E201.3 |  | False | False | False
i.MCC1302.F405AP1.M319SB2.FanOnOff | MCC1302 | Bool | %E201.4 |  | False | False | False
i.MCC1302.F405AP1.M319SB3.GlassRequest | MCC1302 | Bool | %E201.5 |  | False | False | False
i.MCC1302.F405AP1.M319SB4.GlassClearing | MCC1302 | Bool | %E201.6 |  | False | False | False
i.MCC1302.F405AP1.M320B1-2-3-4-5.GlassSincronization | MCC1302 | Bool | %E202.0 |  | False | False | False
i.MCC1302.F405AP1.M320SSQ1-2.TiltingAreaDoorsOpen | MCC1302 | Bool | %E202.3 |  | False | False | False
i.MCC1302.F405AP1.M320SSB1.EmergencyLocalization | MCC1302 | Bool | %E202.4 |  | False | False | False
i.MCC1302.F405AP1.M320SSB2.EmergencyLocalization | MCC1302 | Bool | %E202.5 |  | False | False | False
i.MCC1302.F405AP1.M325SSQ1-2.TiltingAreaDoorsOpen | MCC1302 | Bool | %E204.7 |  | False | False | False
i.MCC1302.F405AP1.M325SSB1.EmergencyLocalization | MCC1302 | Bool | %E205.0 |  | False | False | False
i.MCC1302.F405AP1.M325SSB2.EmergencyLocalization | MCC1302 | Bool | %E205.1 |  | False | False | False
i.MCC1302.F405AP1.M325SSB3.RiseDescenceTiltngConveyor | MCC1302 | Bool | %E205.2 |  | False | False | False
i.MCC1302.F405AP1.M325SSB4.RiseDescenceTiltngConveyor | MCC1302 | Bool | %E205.3 |  | False | False | False
i.MCC1302.F405AP1.M327SQ1.BreakerControlRotation | MCC1302 | Bool | %E205.7 |  | False | False | False
i.MCC1302.F405AP1.M316.PowderApplicator.Allowen | MCC1302 | Bool | %E209.0 |  | False | False | False
i.MCC1302.F405AP1.M316.PowderApplicator.Allowen(1) | MCC1302 | Bool | %E209.1 |  | False | False | False
i.MCC1302.F405AP1.M316.PowderApplicator.Allowen(2) | MCC1302 | Bool | %E209.2 |  | False | False | False
i.MCC1302.F405AP1.M316.PowderApplicator.Allowen(3) | MCC1302 | Bool | %E209.3 |  | False | False | False
i.MCC1302.F405AP1.Breaker | MCC1302 | Bool | %E209.5 |  | False | False | False
i.MCC1302.F405AP1.Breaker(1) | MCC1302 | Bool | %E209.6 |  | False | False | False
o.MCC1302.F405AP1.M316.PowderApplicator.Allowen | MCC1302 | Bool | %A223.0 |  | False | False | False
o.MCC1302.F405AP1.M316.PowderApplicator.Allowen(1) | MCC1302 | Bool | %A223.1 |  | False | False | False
o.MCC1302.F405AP1.M316.PowderApplicator.Allowen(2) | MCC1302 | Bool | %A223.2 |  | False | False | False
o.MCC1302.F405AP1.F572KA4.GlassSheetToBreaker | MCC1302 | Bool | %A223.4 |  | False | False | False
o.MCC1302.F405AP1.F572KA4.GlassSheetToBreaker(1) | MCC1302 | Bool | %A223.5 |  | False | False | False
o.MCC1302.F405AP1.F572HA1.Allarm | MCC1302 | Bool | %A223.7 |  | False | False | False
o.MCC1302.F405AP1.M319YV1.FansGateClosing | MCC1302 | Bool | %A224.0 |  | False | False | False
o.MCC1302.F405AP1.MCC1302.F573HL1.SafetyOnPannel2 | MCC1302 | Bool | %A225.0 |  | False | False | False
o.MCC1302.F405AP1.MCC1302.F573HL2.SafetyOnPannel3 | MCC1302 | Bool | %A225.1 |  | False | False | False
o.MCC1302.F405AP1.M317SHL3-4.DoorsOpen | MCC1302 | Bool | %A225.4 |  | False | False | False
o.MCC1302.F405AP1.M319SB2HL.FanOnOff | MCC1302 | Bool | %A226.0 |  | False | False | False
o.MCC1302.F405AP1.M319SB3HL.GlassRequest | MCC1302 | Bool | %A226.1 |  | False | False | False
o.MCC1302.F405AP1.M319SB4HL.GlassClearing | MCC1302 | Bool | %A226.2 |  | False | False | False
o.MCC1302.F405AP1.M321SHL3-4.DoorsOpen | MCC1302 | Bool | %A226.5 |  | False | False | False
o.MCC1302.F405AP1.M325SSB3.RiseDescenceTiltngConveyor | MCC1302 | Bool | %A227.1 |  | False | False | False
o.MCC1302.F405AP1.M325SSB4.RiseDescenceTiltngConveyor | MCC1302 | Bool | %A227.2 |  | False | False | False
o.MCC1302.F405AP1.M325SHL3-4.DoorsOpen | MCC1302 | Bool | %A227.3 |  | False | False | False
o.MCC1302.F405AP1.M327HL1.CulletLineReady | MCC1302 | Bool | %A227.6 |  | False | False | False
o.MCC1302.F405AP1.M327HL2.CulletLineNotReady | MCC1302 | Bool | %A227.7 |  | False | False | False
i.MCC1303.G195AP1.G11QF1-2.PowerFailure230VAuxiliary | MCC1303 | Bool | %E300.0 |  | False | False | False
i.MCC1303.G195AP1.G13QF2.AnomalyPowerSupplySwitch | MCC1303 | Bool | %E300.3 |  | False | False | False
i.MCC1303.G195AP1.G18QF2.PowerSupply24VDcLogic | MCC1303 | Bool | %E300.6 |  | False | False | False
i.MCC1303.G195AP1.G18QF3.PowerSupply24VDcLogic | MCC1303 | Bool | %E300.7 |  | False | False | False
i.MCC1303.G195AP1.G19QF1.PowerSupply24VDcLogic | MCC1303 | Bool | %E301.0 |  | False | False | False
i.MCC1303.G195AP1.G20QF2.PowerSupply24VDcDrive1 | MCC1303 | Bool | %E301.2 |  | False | False | False
i.MCC1303.G195AP1.G20QF2.PowerSupply24VDcDrive2 | MCC1303 | Bool | %E301.3 |  | False | False | False
i.MCC1303.G195AP1.G33KE1.MainEmergencyON | MCC1303 | Bool | %E301.5 |  | False | False | False
i.MCC1303.G195AP1.G32SB1.EmergencyLocalization | MCC1303 | Bool | %E301.6 |  | False | False | False
i.MCC1303.G195AP1.G61QM1.M324.ProtectionLiftingTilting | MCC1303 | Bool | %E302.2 |  | False | False | False
i.MCC1303.G195AP1.G61KM1_2.M324.FeedbackTiltingLiftingTilting | MCC1303 | Bool | %E302.3 |  | False | False | False
i.MCC1303.G195AP1.G61KA2.M324.TiltingFrameDown | MCC1303 | Bool | %E302.4 |  | False | False | False
i.MCC1303.G195AP1.G61KA1.M324TiltingFrameHigh | MCC1303 | Bool | %E302.5 |  | False | False | False
i.MCC1303.G195AP1.G65QM1.M345.ProtectionBreakerRotation | MCC1303 | Bool | %E303.0 |  | False | False | False
i.MCC1303.G195AP1.G65KM1.M345.FeedbackBreakerRotation | MCC1303 | Bool | %E303.1 |  | False | False | False
i.MCC1303.G195AP1.M330.G209BT1.MotorThermalProbe | MCC1303 | Bool | %E306.0 |  | False | False | False
i.MCC1303.G195AP1.M340.G209BT2.MotorThermalProbe | MCC1303 | Bool | %E306.1 |  | False | False | False
i.MCC1303.G195AP1.M341.G209BT3.MotorThermalProbe | MCC1303 | Bool | %E306.3 |  | False | False | False
i.MCC1303.G195AP1.M342.G209BT4.MotorThermalProbe | MCC1303 | Bool | %E306.4 |  | False | False | False
i.MCC1303.G195AP1.M343.G209BT5.MotorThermalProbe | MCC1303 | Bool | %E306.5 |  | False | False | False
i.MCC1303.G195AP1.M344.G210BT1.MotorThermalProbe | MCC1303 | Bool | %E307.0 |  | False | False | False
i.MCC1303.G195AP1.M323.G210BT2.MotorThermalProbe | MCC1303 | Bool | %E307.2 |  | False | False | False
i.MCC1303.G195AP1.M324.G210BT3.MotorThermalProbe | MCC1303 | Bool | %E307.3 |  | False | False | False
i.MCC1303.G195AP1.M324.G210BT4.MotorThermalProbe | MCC1303 | Bool | %E307.4 |  | False | False | False
i.MCC1303.G195AP1.M389.G210BT5.MotorThermalProbe | MCC1303 | Bool | %E307.5 |  | False | False | False
i.MCC1303.G195AP1.M390.G210BT6.MotorThermalProbe | MCC1303 | Bool | %E307.6 |  | False | False | False
i.MCC1303.G195AP1.M345.G210BT7.MotorThermalProbe | MCC1303 | Bool | %E307.7 |  | False | False | False
i.MCC1303.G195AP1.M390.G211SQ1BreakerControlRotation | MCC1303 | Bool | %E308.4 |  | False | False | False
i.MCC1303.G195AP1.M389.G211B2-3-4-5.GlassSincronization | Tabella delle variabili standard | Bool | %E308.5 |  | False | False | False
i.MCC1303.G195AP1.M323.M323B1A-2A-3A-4A-5A.GlassSlowdown | MCC1303 | Bool | %E308.6 |  | False | False | False
i.MCC1303.G195AP1.M323SB1.EmergencyLocalization | MCC1303 | Bool | %E308.7 |  | False | False | False
i.MCC1303.G195AP1.M323SB2.EmergencyLocalization | MCC1303 | Bool | %E309.0 |  | False | False | False
i.MCC1303.G195AP1.M323SQ1.FrontalSquaringLow | MCC1303 | Bool | %E309.1 |  | False | False | False
i.MCC1303.G195AP1.M323SQ2.FrontalSquaringHigh | MCC1303 | Bool | %E309.2 |  | False | False | False
i.MCC1303.G195AP1.M323SQ3.PhotocellcylinderBack | MCC1303 | Bool | %E309.3 |  | False | False | False
i.MCC1303.G195AP1.M323SQ4.PhotocellcylinderForward | MCC1303 | Bool | %E309.4 |  | False | False | False
i.MCC1303.G195AP1.M324.M324B1.GlassSlowdown | MCC1303 | Bool | %E310.0 |  | False | False | False
i.MCC1303.G195AP1.M324.M324B2.GlassStopOnSquaring | MCC1303 | Bool | %E310.1 |  | False | False | False
i.MCC1303.G195AP1.M324SQ3.LateralSquaringLow | MCC1303 | Bool | %E310.2 |  | False | False | False
i.MCC1303.G195AP1.M324SQ3.LateralSquaringHigh | MCC1303 | Bool | %E310.3 |  | False | False | False
o.MCC1303.G195AP1.M324.G251KA1.LiftFrame | MCC1303 | Bool | %A300.0 |  | False | False | False
o.MCC1303.G195AP1.M324.G251KA2.DscenceFrame | MCC1303 | Bool | %A300.1 |  | False | False | False
o.MCC1303.G195AP1.M390.G251KA3.RunBreaker | MCC1303 | Bool | %A300.3 |  | False | False | False
o.MCC1303.G195AP1.M323YV1.LiftFrontalSquaring | MCC1303 | Bool | %A300.4 |  | False | False | False
o.MCC1303.G195AP1.M323YV2.FrontalcylinderPhotocellCommand | MCC1303 | Bool | %A300.5 |  | False | False | False
o.MCC1303.G195AP1.M324YV1.LiftLateralSquaring | MCC1303 | Bool | %A300.7 |  | False | False | False
o.MCC1303.G195AP1.G253HL1.EmergencyON | MCC1303 | Bool | %A302.0 |  | False | False | False
o.MCC1303.G195AP1.G253HL2.SafetyOnPannelOn | MCC1303 | Bool | %A302.1 |  | False | False | False
o.MCC1303.G195AP1.M323HL1-2.EmergencyON | Tabella delle variabili standard | Bool | %A302.2 |  | False | False | False
o.MCC1303.G195AP1.G254KA1.Spare | MCC1303 | Bool | %A303.0 |  | False | False | False
o.MCC1303.G195AP1.G254KA2.Spare | MCC1303 | Bool | %A303.1 |  | False | False | False
o.MCC1303.G195AP1.G254KA3.Spare | MCC1303 | Bool | %A303.2 |  | False | False | False
o.MCC1303.G195AP1.G254KA4.Spare | MCC1303 | Bool | %A303.3 |  | False | False | False
i.CS4202.E406AP1.R4242SB1.ResetBreakAllarm | MCC1301 | Bool | %E108.6 |  | False | False | False
o.CS4202.E406AP1.R425HA1.GlassBreakAllarm | MCC1301 | Bool | %A126.6 |  | False | False | False
TestTag64 | Tabella delle variabili standard | LInt | %M2.0 |  | True | True | True
i.MCC1201.LerhBQ1.EncoderPulse | MCC1201 | DInt | %ED20 |  | False | False | False
i.MCC1201.LerhBQ2.EncoderPulse | MCC1201 | DInt | %ED40 |  | False | False | False
System_Byte | Tabella delle variabili standard | Byte | %MB0 |  | True | True | True
FirstScan | Tabella delle variabili standard | Bool | %M0.0 |  | True | True | True
DiagStatusUpdate | Tabella delle variabili standard | Bool | %M0.1 |  | True | True | True
AlwaysTRUE | Tabella delle variabili standard | Bool | %M0.2 |  | True | True | True
AlwaysFALSE | Tabella delle variabili standard | Bool | %M0.3 |  | True | True | True
i_IDeviceZ200 | iDevice | "UDT_IDevice_Z200--->Mainline" | %E5500.0 |  | True | True | True
o_IDeviceZ200 | iDevice | "UDT_IDevice_Mainline--->Z200" | %A5500.0 |  | True | True | True
Check | Tabella delle variabili standard | Bool | %M1.0 |  | True | True | True
o.MCC1301.M304+M305.M304.Esclusion wheel #1(break-outs) sx/dx | MCC1301 | Bool | %A92.0 |  | True | True | True
o.MCC1301.M304+M305.Not used | MCC1301 | Bool | %A92.1 |  | True | True | True
o.MCC1301.M304+M305.M304.Esclusion wheel #2(brreak-out) sx/dx | MCC1301 | Bool | %A92.2 |  | True | True | True
o.MCC1301.M304+M305.Not used(1) | MCC1301 | Bool | %A92.3 |  | True | True | True
o.MCC1301.M304+M305.M304.Esclusion wheel #3(break-out) sx/dx | MCC1301 | Bool | %A92.4 |  | True | True | True
o.MCC1301.M304+M305.Not used(2) | MCC1301 | Bool | %A92.5 |  | True | True | True
o.MCC1301.M304+M305.Spare | MCC1301 | Bool | %A92.6 |  | True | True | True
o.MCC1301.M304+M305.Not used(3) | MCC1301 | Bool | %A92.7 |  | True | True | True
o.MCC1301.M304+M305.M305.Roller lifting #1 | MCC1301 | Bool | %A93.0 |  | True | True | True
o.MCC1301.M304+M305.Not used(4) | MCC1301 | Bool | %A93.1 |  | True | True | True
o.MCC1301.M304+M305.M305.Roller lifting #2 | MCC1301 | Bool | %A93.2 |  | True | True | True
o.MCC1301.M304+M305.Not used(5) | MCC1301 | Bool | %A93.3 |  | True | True | True
o.MCC1301.M304+M305.M305.Roller lifting #3 | MCC1301 | Bool | %A93.4 |  | True | True | True
o.MCC1301.M304+M305.Not used(6) | MCC1301 | Bool | %A93.5 |  | True | True | True
o.MCC1301.M304+M305.M305.Roller lifting #4 | MCC1301 | Bool | %A93.6 |  | True | True | True
o.MCC1301.M304+M305.Not used(7) | MCC1301 | Bool | %A93.7 |  | True | True | True
o.MCC1301.M304+M305.M305.Roller lifting #5 | MCC1301 | Bool | %A94.0 |  | True | True | True
o.MCC1301.M304+M305.Not used(8) | MCC1301 | Bool | %A94.1 |  | True | True | True
o.MCC1301.M304+M305.M305.Roller lifting #6 | MCC1301 | Bool | %A94.2 |  | True | True | True
o.MCC1301.M304+M305.Not used(9) | MCC1301 | Bool | %A94.3 |  | True | True | True
o.MCC1301.M304+M305.M305.Roller inclination #1 | MCC1301 | Bool | %A94.4 |  | True | True | True
o.MCC1301.M304+M305.Not used(10) | MCC1301 | Bool | %A94.5 |  | True | True | True
o.MCC1301.M304+M305.M305.Roller inclination #2 | MCC1301 | Bool | %A94.6 |  | True | True | True
o.MCC1301.M304+M305.Not used(11) | MCC1301 | Bool | %A94.7 |  | True | True | True
o.MCC1301.M304+M305.M305.Roller inclination #3 | MCC1301 | Bool | %A95.0 |  | True | True | True
o.MCC1301.M304+M305.Not used(12) | MCC1301 | Bool | %A95.1 |  | True | True | True
o.MCC1301.M304+M305.M305.Roller inclination #4 | MCC1301 | Bool | %A95.2 |  | True | True | True
o.MCC1301.M304+M305.Not used(13) | MCC1301 | Bool | %A95.3 |  | True | True | True
o.MCC1301.M304+M305.M305.Roller inclination #5 | MCC1301 | Bool | %A95.4 |  | True | True | True
o.MCC1301.M304+M305.Not used(14) | MCC1301 | Bool | %A95.5 |  | True | True | True
o.MCC1301.M304+M305.M305.Roller inclination #6 | MCC1301 | Bool | %A95.6 |  | True | True | True
o.MCC1301.M304+M305.Not used(15) | MCC1301 | Bool | %A95.7 |  | True | True | True
o.MCC1301.M307+M308.M307.Esclusion wheel #1(break-outs) | Tabella delle variabili standard | Bool | %A96.0 |  | True | True | True
o.MCC1301.M307+M308.Not used(16) | MCC1301 | Bool | %A96.1 |  | True | True | True
o.MCC1301.M307+M308.M307.Esclusion wheel #2(break-outs) | MCC1301 | Bool | %A96.2 |  | True | True | True
o.MCC1301.M307+M308.Not used(17) | MCC1301 | Bool | %A96.3 |  | True | True | True
o.MCC1301.M307+M308.M307.Esclusion wheel #3(break-outs) | MCC1301 | Bool | %A96.4 |  | True | True | True
o.MCC1301.M307+M308.Not used(18) | MCC1301 | Bool | %A96.5 |  | True | True | True
o.MCC1301.M307+M308.Spare(1) | MCC1301 | Bool | %A96.6 |  | True | True | True
o.MCC1301.M307+M308.Not used(19) | MCC1301 | Bool | %A96.7 |  | True | True | True
o.MCC1301.M307+M308.M308.Roller lifting #1 | MCC1301 | Bool | %A97.0 |  | True | True | True
o.MCC1301.M307+M308.Not used(20) | MCC1301 | Bool | %A97.1 |  | True | True | True
o.MCC1301.M307+M308.M308.Roller lifting #2 | MCC1301 | Bool | %A97.2 |  | True | True | True
o.MCC1301.M307+M308.Not used(21) | MCC1301 | Bool | %A97.3 |  | True | True | True
o.MCC1301.M307+M308.M308.Roller lifting #3 | MCC1301 | Bool | %A97.4 |  | True | True | True
o.MCC1301.M307+M308.Not used(22) | MCC1301 | Bool | %A97.5 |  | True | True | True
o.MCC1301.M307+M308.M308.Roller lifting #4 | MCC1301 | Bool | %A97.6 |  | True | True | True
o.MCC1301.M307+M308.Not used(23) | MCC1301 | Bool | %A97.7 |  | True | True | True
o.MCC1301.M307+M308.M308.Roller lifting #5 | MCC1301 | Bool | %A98.0 |  | True | True | True
o.MCC1301.M307+M308.Not used(24) | MCC1301 | Bool | %A98.1 |  | True | True | True
o.MCC1301.M307+M308.M308.Roller lifting #6 | MCC1301 | Bool | %A98.2 |  | True | True | True
o.MCC1301.M307+M308.Not used(25) | MCC1301 | Bool | %A98.3 |  | True | True | True
o.MCC1301.M307+M308.M308.Roller inclination #1 | MCC1301 | Bool | %A98.4 |  | True | True | True
o.MCC1301.M307+M308.Not used(26) | MCC1301 | Bool | %A98.5 |  | True | True | True
o.MCC1301.M307+M308.M308.Roller inclination #2 | MCC1301 | Bool | %A98.6 |  | True | True | True
o.MCC1301.M307+M308.Not used(27) | MCC1301 | Bool | %A98.7 |  | True | True | True
o.MCC1301.M307+M308.M308.Roller inclination #3 | MCC1301 | Bool | %A99.0 |  | True | True | True
o.MCC1301.M307+M308.Not used(28) | MCC1301 | Bool | %A99.1 |  | True | True | True
o.MCC1301.M307+M308.M308.Roller inclination #4 | MCC1301 | Bool | %A99.2 |  | True | True | True
o.MCC1301.M307+M308.Not used(29) | MCC1301 | Bool | %A99.3 |  | True | True | True
o.MCC1301.M307+M308.M308.Roller inclination #5 | MCC1301 | Bool | %A99.4 |  | True | True | True
o.MCC1301.M307+M308.Not used(30) | MCC1301 | Bool | %A99.5 |  | True | True | True
o.MCC1301.M307+M308.M308.Roller inclination #6 | MCC1301 | Bool | %A99.6 |  | True | True | True
o.MCC1301.M307+M308.Not used(31) | MCC1301 | Bool | %A99.7 |  | True | True | True
o.MCC1301.M307.BreakOutRise | MCC1301 | Bool | %A121.2 |  | True | True | True
i.MCC1303.G195AP1.G51QM1.DriveSupply | MCC1303 | Bool | %E302.0 |  | True | True | True
o_IDeviceZ500 | iDevice | "UDT_IDevice_Mainline--->Sideleg" | %A6000.0 |  | True | True | True
i_IDeviceZ500 | iDevice | "UDT_IDevice_Sideleg--->Mainline" | %E6000.0 |  | True | True | True
i_IDeviceZ710 | iDevice | "UDT_IDevice_Z700--->Mainline" | %E6500.0 |  | True | True | True
o_IDeviceZ710 | iDevice | "UDT_IDevice_Mainline--->Z700" | %A6500.0 |  | True | True | True
i_IDeviceZ720 | iDevice | "UDT_IDevice_Z700--->Mainline" | %E7000.0 |  | True | True | True
o_IDeviceZ720 | iDevice | "UDT_IDevice_Mainline--->Z700" | %A7000.0 |  | True | True | True
i_IDeviceZ730 | iDevice | "UDT_IDevice_Z700--->Mainline" | %E7500.0 |  | True | True | True
o_IDeviceZ730 | iDevice | "UDT_IDevice_Mainline--->Z700" | %A7500.0 |  | True | True | True
i_IDeviceZ740 | iDevice | "UDT_IDevice_Z700--->Mainline" | %E8000.0 |  | True | True | True
o_IDeviceZ740 | iDevice | "UDT_IDevice_Mainline--->Z700" | %A8000.0 |  | True | True | True
i_IDeviceZ750 | iDevice | "UDT_IDevice_Z700--->Mainline" | %E8500.0 |  | True | True | True
o_IDeviceZ750 | iDevice | "UDT_IDevice_Mainline--->Z700" | %A8500.0 |  | True | True | True
i_IDeviceZ400 | iDevice | "UDT_IDevice_Z400--->Mainline" | %E9000.0 |  | True | True | True
o_IDeviceZ400 | iDevice | "UDT_IDevice_Mainline--->Z400" | %A9000.0 |  | True | True | True
OUTPUT_Z200_Bool | Tabella delle variabili standard | Bool | %M10.0 |  | True | True | True
OUTPUT_Z200_Dint | Tabella delle variabili standard | DInt | %MD11 |  | True | True | True
input | Tabella delle variabili standard | Bool | %M1.1 |  | True | True | True

## Constants
Name | Path | Data Type | Value | Comment
DGLASSBREAKMACHINEINDEX_M202 | Tabella delle variabili standard | DInt | 0 | Glass break machine M202_Photocell_bridge
DGLASSBREAKMACHINEINDEX_M204 | Tabella delle variabili standard | DInt | 2 | Glass break machine M204_drop_conv
SIMULATION_ACTIVE | Tabella delle variabili standard | Bool | 1 | Enable simulation
DSTRSIZEDESCR | Tabella delle variabili standard | DInt | 30 | Default size of the description string
STARTARRAY | Tabella delle variabili standard | DInt | 0 | "0" start array
DMAXPROTLAYER_IND | Tabella delle variabili standard | DInt | 10
DNUMBEROFDESTINATION | Tabella delle variabili standard | DInt | 63 | Number of destination -1
DMAXLITE_IND | Tabella delle variabili standard | DInt | 3 | Number of lites -1 used for index
DMAXNUMMESSAGETANK_IND | Tabella delle variabili standard | DInt | 199
DNUMFRAME | Tabella delle variabili standard | DInt | 1 | Number of Frame Section (2)
DNUMWHEEL | Tabella delle variabili standard | DInt | 8 | (2)
DMAXCAP_IND | Tabella delle variabili standard | DInt | 0 | Number of caps -1 used for index
DEVENTS_TRAPSTATUS | Tabella delle variabili standard | DInt | 44 | Events - Trap status
DNMCONVEYOR | Tabella delle variabili standard | DInt | 50 | Number Conveyor [Number Conveyor-1]
M301AM1 | ZZ_Constants\Conveyor | DInt | 00
M301AM2 | ZZ_Constants\Conveyor | DInt | 01
M301AM3 | ZZ_Constants\Conveyor | DInt | 02
M301AM4 | ZZ_Constants\Conveyor | DInt | 03
M301M1 | ZZ_Constants\Conveyor | DInt | 04
M301M2 | ZZ_Constants\Conveyor | DInt | 05
M302 | ZZ_Constants\Conveyor | DInt | 06
M303 | ZZ_Constants\Conveyor | DInt | 07
M306 | ZZ_Constants\Conveyor | DInt | 08
M311 | ZZ_Constants\Conveyor | DInt | 09
M312M1 | ZZ_Constants\Conveyor | DInt | 10
M313 | ZZ_Constants\Conveyor | DInt | 12
M314 | ZZ_Constants\Conveyor | DInt | 13
DNUMBERPHSYNC | ZZ_Constants\SyncPhotocel | DInt | 15
B_M301 | ZZ_Constants\SyncPhotocel | DInt | 0
MaxNumBreaker | ZZ_Constants\Breaker | DInt | 10
DNUMSEPARATOR | ZZ_Constants\SeparatorRoll | DInt | 10
SepRo_M305 | ZZ_Constants\SeparatorRoll | DInt | 0
SepRo_M308 | ZZ_Constants\SeparatorRoll | DInt | 1
DCONST_LocEmergency | ZZ_Constants\Emergency | DInt | 20
DNUMROLLS | Tabella delle variabili standard | DInt | 7 | Number of rolls: 8, array 0/7
Fr_M302_Left | ZZ_Constants\Frame | DInt | 0
Fr_M302_Right | ZZ_Constants\Frame | DInt | 1
BrWh_M302A_Left1 | ZZ_Constants\Wheel | DInt | 0
BrWh_M302A_Left2 | ZZ_Constants\Wheel | DInt | 1
BrWh_M302A_Right1 | ZZ_Constants\Wheel | DInt | 2
BrWh_M302A_Right2 | ZZ_Constants\Wheel | DInt | 3
DNUMSNAPBAR | Tabella delle variabili standard | DInt | 10
SB_M304A1 | ZZ_Constants\SnapBar | DInt | 1 | Left
SB_M304A2 | ZZ_Constants\SnapBar | DInt | 2 | Right
SB_M307 | ZZ_Constants\SnapBar | DInt | 3
DNMOTORCONV | Tabella delle variabili standard | DInt | 1
DNUMSNAPBARZONE | Tabella delle variabili standard | DInt | 4 | Number Snap Bar Zone (5)
DSPEEDCONV_mm_Min | Tabella delle variabili standard | DInt | 4 | Number of Speed For Conveyor
DALARM | Tabella delle variabili standard | DInt | 1
DNUMBERPLATESEARCH | Tabella delle variabili standard | DInt | 5 | NUmber of Pate in Search Function
NUMOFNOZZLES | Tabella delle variabili standard | Int | 11 | 0-11 bit for nozzles 1-12
DNUMARM | Tabella delle variabili standard | DInt | 20 | Number of arm
M312M3 | ZZ_Constants\Conveyor | DInt | 11
DNUMSECTION | Tabella delle variabili standard | DInt | 1 | (2)
M309M1 | ZZ_Constants\ChipsBlower | DInt | 1
M315 | ZZ_Constants\Breaker | DInt | 1
M327 | ZZ_Constants\Breaker | DInt | 2
M317 | ZZ_Constants\Conveyor | DInt | 14
M318 | ZZ_Constants\Conveyor | DInt | 15
M320 | ZZ_Constants\Conveyor | DInt | 16
M321 | ZZ_Constants\Conveyor | DInt | 17
M322 | ZZ_Constants\Conveyor | DInt | 18
M323 | ZZ_Constants\Conveyor | DInt | 19
M325 | ZZ_Constants\Conveyor | DInt | 20
M326 | ZZ_Constants\Conveyor | DInt | 21
M390 | ZZ_Constants\Breaker | DInt | 3
M330 | ZZ_Constants\Conveyor | DInt | 22
M340 | ZZ_Constants\Conveyor | DInt | 23
M341 | ZZ_Constants\Conveyor | DInt | 24
M342 | ZZ_Constants\Conveyor | DInt | 25
M343 | ZZ_Constants\Conveyor | DInt | 26
M344 | ZZ_Constants\Conveyor | DInt | 27
M345 | ZZ_Constants\Conveyor | DInt | 28
M389 | ZZ_Constants\Conveyor | DInt | 29
Tilt_M312 | ZZ_Constants\Tilting | DInt | 1
Tilt_M317 | ZZ_Constants\Tilting | DInt | 2
Tilt_M321 | ZZ_Constants\Tilting | DInt | 3
DNUMSQUARING | ZZ_Constants\Squaring | DInt | 3
Tilt_M325 | ZZ_Constants\Tilting | DInt | 4
DCAPSBUFFER | Tabella delle variabili standard | DInt | 90 | Number of caps -1 in the Buffer
DNCAPSCONV | Tabella delle variabili standard | DInt | 10 | Number of caps in sigle conveyor
DNUMBERPLATESEARCHEXT | Tabella delle variabili standard | DInt | 20 | NUmber of Pate in Search Extend Function
DMAXCAPCONVOY | Tabella delle variabili standard | DInt | 1 | (2)
DMAN1 | Tabella delle variabili standard | DInt | 34 | M391
M319 | Tabella delle variabili standard | DInt | 32
DCULLET | Tabella delle variabili standard | DInt | 40
DNUM_IndexFirstConvSecondZone | Tabella delle variabili standard | DInt | 8 | Index First Conveyor Second Zone Cleaning
DMAXCAPLENGHT_cmm | Tabella delle variabili standard | DInt | 290000
DSNUMBERCONVEYORACC | Tabella delle variabili standard | DInt | 3 | (4)
DMAXCAPLENGHT_cmm(1) | ConfigSpeedUp | DInt | 290000
DMAXMISSINGSNAP | ConfigSpeedUp | DInt | 2
DSNAPLIMIT_cmm | ConfigSpeedUp | DInt | 410000
DSNUMBERCONVEYORACC(1) | ConfigSpeedUp | DInt | 3 | (4)
DMINCAPLENGHT_cmm | ConfigSpeedUp | DInt | 60000
DMINCONVOY_cmm | ConfigSpeedUp | DInt | 90000 | Min Dimension Single for Cap convoy
DMAXCONVOY_cmm | ConfigSpeedUp | DInt | 120000 | Max DimensionSingle for Cap convoy
DNUMPLATECONV | ConfigSpeedUp | DInt | 1
DGAPMINCONV | ConfigSpeedUp | DInt | 50000
DMINLINESPEED_mm_Min | ConfigSpeedUp | DInt | 20000
DMAXLINESPEED_mm_Min | ConfigSpeedUp | DInt | 60000
DMINLEHRNSPEED_mm_Min | ConfigSpeedUp | DInt | 0 | Min lehrn Speed
DMAXLEHRNSPEED_mm_Min | ConfigSpeedUp | DInt | 23000 | Max lehrn Speed
DMAXSPEEDRATIO | ConfigSpeedUp | Real | 4.3
DMINSPEEDRATIO | ConfigSpeedUp | Real | 4.0
DZ1TOTALLENGHT | ConfigSpeedUp | DInt | 1315000
DNUMLIFTFRAME | Tabella delle variabili standard | DInt | 1 | (2)
M303LsLiftFrame | Tabella delle variabili standard | DInt | 0 | Lift frame SelvMach
M303RsLiftFrame | Tabella delle variabili standard | DInt | 1 | Lift frame SelvMach
M303DwLs | Tabella delle variabili standard | DInt | 0 | Wheel
M303DwRs | Tabella delle variabili standard | DInt | 1 | Wheel
M303LsFrame | Tabella delle variabili standard | DInt | 0 | Frame SelvMach
M303RsFrame | Tabella delle variabili standard | DInt | 1 | Frame SelvMach
OpSideLeft | Tabella delle variabili standard | Bool | 0 | (0=operator side rigth; 1=operator side = Left)
MINDISTANCEFRAME | Tabella delle variabili standard | DInt | 150000 | [mm/100]
DSTARTTRAKING_cmm | Tabella delle variabili standard | DInt | 0 | Start Tracking Position [cmm]
PopUpM324 | Tabella delle variabili standard | DInt | 0 | PupUp Sideleg Z500
DNUMPOPUP | Tabella delle variabili standard | DInt | 2 | (3)
B_M302 | ZZ_Constants\SyncPhotocel | DInt | 1
B_M311 | ZZ_Constants\SyncPhotocel | DInt | 2
B_M313 | ZZ_Constants\SyncPhotocel | DInt | 3
B_M320 | ZZ_Constants\SyncPhotocel | DInt | 4
B_M340 | ZZ_Constants\SyncPhotocel | DInt | 5
B_M341 | ZZ_Constants\SyncPhotocel | DInt | 6
B_M342 | ZZ_Constants\SyncPhotocel | DInt | 7
B_M343 | ZZ_Constants\SyncPhotocel | DInt | 8
B_M344 | ZZ_Constants\SyncPhotocel | DInt | 9
B_M323 | ZZ_Constants\SyncPhotocel | DInt | 10
B_M324_F1 | ZZ_Constants\SyncPhotocel | DInt | 11
B_M324_F2 | ZZ_Constants\SyncPhotocel | DInt | 12
B_M389 | ZZ_Constants\SyncPhotocel | DInt | 13
DMAXTILTING | ZZ_Constants\Tilting | DInt | 5
DNUM_IndexLastConvFirstZone | Tabella delle variabili standard | DInt | 10 | Index First Conveyor Second Zone Cleaning
DEVICENUM_IND | Tabella delle variabili standard | DInt | 127
Tilt_M301M5 | ZZ_Constants\Tilting | DInt | 0
LiftFr_M302_Left | ZZ_Constants\LiftFrame | Int | 0
LiftFr_M302_Right | ZZ_Constants\LiftFrame | Int | 1
DQUALITY1 | Tabella delle variabili standard | DInt | 0
DQUALITY2 | Tabella delle variabili standard | DInt | 1
DQUALITY3 | Tabella delle variabili standard | DInt | 2
DQUALITY4 | Tabella delle variabili standard | DInt | 3
M324 | Tabella delle variabili standard | DInt | 40

## TagTable Properties
Path | BelongsToUnit | Accessibility
MCC1201
MCC1301
Tabella delle variabili standard
MCC1302
MCC1303
iDevice
ZZ_Constants\Conveyor
ZZ_Constants\SyncPhotocel
ZZ_Constants\Breaker
ZZ_Constants\SeparatorRoll
ZZ_Constants\Emergency
ZZ_Constants\Frame
ZZ_Constants\Wheel
ZZ_Constants\SnapBar
ZZ_Constants\ChipsBlower
ZZ_Constants\Tilting
ZZ_Constants\Squaring
ConfigSpeedUp
ZZ_Constants\LiftFrame